## Sheet1
Parks and Facilities Division
Site: | City Hall 33325 8th Ave S, Federal Way WA 98003
Equipment List
Unit # | Location | Manufacturer | Description | Tons | Model # | Serial # | Manf. year | Volts/ phase | Type Filters | Size | Qty
AC 1 | ROOF | FUJITSU | CONDENSING UNIT WITH COMPRESSOR | 2 | ASU24CL | DDA025341 | 2011 | 208 | washable |  | 2
AHU 1 | 1ST FL TRAFFIC RM 1008 | Carrier | AIR HANDLER | 12 | 40RE015610 | 3194V20334 | 1994 | 460 | pleated | 13 x 24 x 1 24 x 24 x 1 | 1 2
AHU 2 | 1ST FL TRAFFIC RM 1016 | Carrier | AIR HANDLER | 12 | 40RM024B511WD | 2407U17830 | 1996 | 208 | pleated | 16 x 20 x 2 16 x 17 x 2 | 2 8
AHU 3 | 2ND FLR IT ROOM | FUJITSU | AIR HANDLER | 2 | ASU24CL | DDA025341 | 2011 | 208 | washable |  | 1
CRAC 1 | 1ST FLOOR DATA ROOM | Data Aire | COMPUTER ROOM AIR CONDITIONER | 10 | DAAD 1034 | 96-1846-A | 1996 | 460 | pleated | 20 x 25 x 4 | 3
CRAC 2 | DATA ROOM | Data Aire | COMPUTER ROOM AIR CONDITIONER | 10 | DAAD 1034 | 96-1847-A | 1996 | 460 | pleated | 20 x 25 x 4 | 3
CU 1 | GROUND LEVEL POLICE | Carrier | CONDENSER UNIT (W/COMPRESSOR) | 12 | 38AKS014---610--- | 4096F32688 | 1996 | 460 | NA | NA | NA
CU 1.A | ROOF SOUTH | Data Aire | CONDENSER UNIT (W/O COMPRESSOR) | NA | DARC 1134 | 96-1849A | 1996 | 460 | NA | NA | NA
CU 2 | GROUND LEVEL POLICE | Carrier | CONDENSER UNIT (W/COMPRESSOR) | 12 | 38AKS014---610--- | 4096F32689 | 1996 | 460 | NA | NA | NA
CU 2.A | ROOF SOUTH | Data Aire | CONDENSER UNIT (W/O COMPRESSOR) | NA | DARC 1134 | 96-1848-A | 1996 | 460 | NA | NA | NA
EDH 1 | 2ND FLR LOBBY RM 2022 | MARK | ELECTRIC DUCT HEATER | 15KW | 3HF15 | NA | 1996 | 460 | NA | NA | NA
MUA 1 | MEN'S LOCKER RM 1ST FLR | UNDERWRITER LAB | MAKE UP AIR UNIT | 10 | B-002975 | NA | 2000 | 460 | pleated | 16 x 20 x 1 | 1
RTU 1 | ROOF SOUTH | Trane | ROOFTOP UNIT | 60 | SXHLF7540D77A9D80010 | C11B00682 | 2011 | 460 | pleated | 16 x 20 x 2 | 35
RTU 2 | ROOF NORTH | Trane | ROOFTOP UNIT | 60 | SXHLF75400D77A9AD800 | C11B00683 | 2011 | 460 | pleated | 16 x 20 x 2 | 35
RTU 3 | ROOF CENTER | Trane | HEAT PUMP | 10 | WSC120E4RGA08C0D0002 | 111312805L | 2011 | 460 | pleated | 20 x 30 x 2 20 x 25 x 2 | 3 3
RTU 4 | ROOF CENTER | Trane | HEAT PUMP | 4 | WSC048A4RBA17D2B0000 | 409102229L | 1996 | 460 | pleated | 20 x 25 x 2 | 2
CONTROLS | PARKS/FACILITIES DEPT IN CITY HALL | SIEMENS - STAEFA | CONTROL SYSTEM | NA | Honeywell |  | 2011 | NA | NA | NA | NA